## Sheet1
#name	disciplines	topics	equipment
Electric Charges and Forces	Electricity and Magnetism	Electrostatics	Rods made of acrylic and PVC, string and support to hang these rods from, rayon cloth, leaf electroscope. Electric Fields from Point Charges applet
Electric Fields	Electricity and Magnetism	Electrostatics	Electric Fields from Point Charges applet
Equipotential Lines	Electricity and Magnetism	Electrostatics, Circuits	Fluke multimeter, Anatek power supply, field probe, potential mapping apparatus, parallel plate conductor board, dipole conductor board, connecting cables, potential mapping graph paper, tape, ruler, pencils; Electric Fields from Point Charges applet
Electric Circuits	Electricity and Magnetism, Math	Electrostatics, Circuits	2 light bulbs, switch, Anatek power supply, connecting leads, Fluke multimeter
Magnetic Field in a Slinky	Electricity and Magnetism, Math	Magnetism, Circuits	Slinky, 2 c-clamps, meter stick, lab stand, right-angle clamp, fork clamp, connecting leads, Fluke digital multimeter, Anatek DC power supply, Vernier magnetic field probe, Vernier LabPro Data Log- ger, Computer with Vernier Logger Pro.
Ideal Gas Law	Thermodynamics, Laboratory Skills	Measurements	Constant volume gas apparatus, beaker with water, cork, hot plate, Vernier temperature probe and holder, laboratory stand, meter stick, clamps, stiring rod, computer with Logger Pro analysis software and the file “Ideal Gas Law.cmbl”
First Law of Thermodynamics	Thermodynamics, Math	Integration, Work and Energy	The “Gas Properties” simulation
Temperature at Microscopic Level	Thermodynamics, Math, Statistical Mechanics	Statistics, Momentum, Work and Energy	The “Gas Properties” simulation
Units	Newtonian Mechanics	Measurements	Vernier capable computer, Vernier motion sensor, meter stick, labatorial 1 data.cmbl, 1D graph match- ing.cmbl, labatorial 1 movie2.cmbl, constant velocity.avi, and constant angular velocity.avi
Measuring Motion	Newtonian Mechanics	Kinematics	Vernier capable computer, Vernier motion sensor, metre stick, and 1D Motion.cmbl
Motion on the Inclined Plane	Newtonian Mechanics	Kinematics	Vernier capable computer, Vernier motion sensor, air track, air supply, ruler, lab jack, inclinometer, masses to put on cart. 1D Motion.cmbl, Inclined Down.avi, Inclined Up.avi, and Inclined Up and Down.avi
2D Motion	Newtonian Mechanics	Kinematics	Vernier capable computer, Simultaneous-Fall.cmbl, Uniform-Circular-Motion.cmbl, Bouncing-Ball.cmbl, ruler
Statics	Newtonian Mechanics	Statics, Newton’s Laws	Vernier capable computer, vector board, 2 C-clamps, triple-ended nylon string, set of masses (10 g - 1000 g), protractor, and ruler
Newton's 2nd law	Newtonian Mechanics	Statics, Newton’s Laws	Vernier capable computer, 1D Motion.cmbl, vernier position sensor, green 5 N spring scale, air track, air supply, lab jack, glider with sail, 20–200 g mass set, string, scissors, pulley, hook attachment for glider, digital balance, vector board, large mass set, lab stand, right angle clamp, and vernier force plate
Newton's 3rd Law	Newtonian Mechanics	Statics, Newton’s Laws	Vernier capable computer, rolling chair, 5 N spring scale (green), 20 N spring scale (red). and 2 Vernier force plate sensors with handles
Collisions in one Dimension	Newtonian Mechanics	Collisions, Work and Energy, Momentum	Vernier capable computer, 2 carts, 2 sails, 2 Vernier motion sensors, air track, air supply, collisions accessory kit, digital scale, metal levelling shims, 2 lab stands with 90 degree clamps, and collisions.cmbl
SHO and Conservation of Energy	Newtonian Mechanics	Work and Energy, Momentum, Conservation Laws, Kinematics, Differentiation	Vernier capable computer, air track, air supply, cart, 2 spring with banana plugs, adjustable end stops, digital balance, 2g-20g mass set, Vernier motion sensor, SHO.cmbl
Measurement Uncertainties	Laboratory Skills	Circuits, Measurements	Plastic ruler, String, Calipers, Digital balance, Rectangles with different lengths (2), Sextant, Circles with different diameters (2), Tape measure, Ball bearing, Demonstration vernier
Michelson Interferometer	Optics, Math	Interference	Pasco OS-9255A precision interferometer apparatus, Helium-neon laser with mounting rod, Optical screen, Nalgene vacuum pump with air cell, Glass slide with control apparatus, Wooden stand, 18 mm focal length convex lens, 1 m optical bench, 30 cm ruler, Digital barometer, Calipers, Laser beam stop
Linear Polorization	Optics, Math, Electricity and Magnetism	Integration, Polarization	1 m optical bench, Optical mounts (6), Fluke multimeter, Anatek power supply, Anatek DC power supply, He-Ne laser, 5 cm polarizer (2), LX-02 light detector, Lens holder (2), 2-axis translation stage, 28V light bulb, Set of connecting leads, 20 cm focal length lens
Concave Mirrors	Optics	Rotational Motion, Differentiation, ODE	Rotating mirror apparatus, set of connecting leads, laboratory stand (2), screen, stopwatch, Anatek DC power supply, illuminated test object, isolation transformer, meter stick
Thin Lenses and Optical Instruments	Optics	Measurements	1 m optical bench, small optical bench mount (4), illuminated test object, meter stick, plastic ruler, screen, diopter gauge, lens holders (2), short focal length double convex lens, 2 different medium focal length double convex lenses, long focal length double convex lens, double concave lens
Inclined Atwood Machine	Newtonian Mechanics	Friction and Drag, Statics, PDE, Differentiation	air track, air blower, air track accessory kit, rubber bands, vernier capable computer, vernier position sensor, string, scissors, laboratory jack, digital balance, meter stick, sail
Drag Forces	Newtonian Mechanics, Friction and Drag, Fluid Mechanics, Math	Friction and Drag, Differentiation	60 cm acrylic tube filled with glycerine, meter stick, stopwatch, digital balance, 5 mL pipet, dry erase marker, forceps, 1/8” diameter sphere (12), 5/32” diameter sphere (12), 3/16” diameter sphere (12), 1/4” diameter sphere (12), 5/16” diameter sphere (12), 3/8” diameter sphere (12), 1/2” diameter sphere (12)
Hanging Chain	Newtonian Mechanics, Math	Newton’s Laws, Statics, Differentiation, PDE	assortment of chains, laboratory stand (2), meter stick (2), digital balance, green spring scale (2), hook collars (2)
Damped Mechanical Oscillations	Newtonian Mechanics, Math	Newton’s Laws, Dynamics, ODE	driven harmonic motion apparatus, assortment of slotted masses, assortment of red springs, calipers, digital balance
Forced Damped Mechanical Oscillations	Newtonian Mechanics, Math	Newton’s Laws, Dynamics, ODE	driven harmonic motion apparatus, assortment of slotted masses, assortment of red springs, calipers, digital balance