## Sheet1
item ID	item name (standardized)		Software	URL	lab ID	item name (still to be standardized)		kit ID	kit name	kit parts
0001	Fluke multimeter		browser					0095	air track accessory kit	riser block (8), 50 g cylindrical mass (4), 20 g slotted mass (2), hook, pulley, rubber band bumper, wax receptacle
0002	Anatek power supply		Vpython					0113	Hall probe kit	InAs hall probe, female BNC to male banana adaptor, BNC coaxial cable
0003	set of connecting leads		1D-Motion.cmbl		0011	Rods made of acrylic and PVC		0214	travelling wave kit	50 Ω BNC feedthrough termination, 7 m RG59 coaxial cable, 7 m twinaxial cable, reflectionless signal splitter, 0.5 m RG58 coaxial cable, BNC male-male adapter (2), BNC female-female adapter, male BNC to female banana, variable resistive termination adapter, short circuit termination
0004	Neva mains rectifier		Inclined-Up.avi		0011	string and support to hang these rods from		0091	Fizeau band kit	small Newton rings, large Newton rings, air wedge apparatus, lens paper, thin cover glass, riser block, aluminum foil, beam splitter, beam splitter stand, lens cleaner, interference colour chart, diffuser, lens cleaner
0005	Philips multimeter		Inclined-Down.avi		0011	rayon cloth		0212	current balance kit	masking tape, plastic ruler, current balance apparatus, bubble level, spacer bar, milligram mass set
0006	laboratory stand		Inclined-Up-and-Down.avi		0014			0521	set of torsion pendulums
0007	meter stick		Circuit Construction Kit (AC/DC) simulation		0014			0353	uncertainties kit	plastic beaker, brass rectangle (2), brass disk (2), ball bearing, aluminum tube
0008	laboratory jack		electric-hockey_en.jar					0370	thin lens kit	optical screen, lens holder (2), illuminated test object, plastic ruler, 5 cm focal length 38 mm diameter double convex lens, 10 cm focal length 28 mm diameter double convex lens, 20 cm focal length 38 mm diameter double convex lens, 100 cm focal length 38 mm diameter plano-convex lens, -10 cm focal length 38 mm diameter double concave lens.
0009	B&K function generator		labatorial_1_data.cmbl		0027	3 flat-bottomed coffee filters		0371	electromagnetic induction kit	air track cart, pickup coil, grey solenoid, steel rod, adjustable end stop, banana plugs with eye hook, flexable connecting leads
0010	oscilloscope		1D_graph_matching.cmbl		0027			0216	drag force kit	1/8” diameter teflon sphere (12), 5/23” diameter teflon sphere (12), 3/16” diameter teflon sphere (12), 1/4” diameter teflon sphere (12), 5/16” diameter teflon sphere (12), 3/8” diameter teflon sphere (12), 1/2” diameter teflon sphere (12)
0011	Pasco air blower		labatorial_1_movie2.cmbl		0028	a ball to throw up in the air		0217	Pasco precision interferometer apparatus	base, viewing screen, hand pump, air cell, 18 mm focal length lens (2), beam splitter, adjustable mirror, movable mirror, slide holder (2)
0012	digital balance		constant_velocity.avi		0029	wire holder with wire		0219	set of dielectrics	acrylic sheet, paper sheet, teflon sheet, pvc sheet, mylar sheet, acetate sheet, water tank
0013	Vernier magnetic field probe		constant_angular_velocity.avi		0040			0227	acrylic block set
0014	Vernier voltage probe		SHO.cmbl		0041	Rectangles with different lengths		0393	faraday effect kit
0015	Vernier current probe		Vernier Logger Pro		0041	Circles with different diameters		0414	electrostatics kit	acrylic rod (2), PVC rod (2), rod hanger, hanger string, rayon cloth, leaf electrometer
0016	Neva thermionic emission tube		electric fields from point charges applet	http://www.compadre.org/Physlets/electromagnetism/illustration23 2.cfm	0041	Ball bearing		0421	Fraunhofer kit	slide with four single slits, slide with 4 double slits, slide with multiple slits, slide with aperatures, triple diffraction grating, 208 μm mesh grating, 176 μm mesh grating, 152 μm mesh grating, 127 μm mesh grating, 90 μm mesh grating, 76 μm mesh grating, 65 μm mesh grating
0017	Pasco Fourier synthesizer		gas-properties_en.jar		0049	high current power supply		0161	radium isolation nuclear chemistry station
0018	advanced student spectroscope		Maestro 7.01		0049			0446	bubble chamber photograph kit	template of radii of curvature, bubble chamber stereograph, 3D view master, physics review D - review of partical properties
0019	introductory student spectroscope		linefit		0049			0473	impact crater kit	plastic beaker, assorted ball bearings
0020	right angle clamp				0053			0478	set of metal pellets
0021	He-Ne laser				0057	28V light bulb		0506	specific heat kit	glass tube, stopper with catcher, large stopper, matched steel balls
0022	1 m optical bench				0060	plane-convex-concave universal mirror
0023	2 m optical bench				0061	diopter gauge
0024	computer				0061	short focal length double convex lens
0025	Leybold photocell				0061	2 different medium focal length double convex lenses
0026	Jarrell Ash monochromator				0061	long focal length double convex lens
0027	Moll’s thermopile				0061	double concave lens
0028	diopter guage				0065
0029	Ortec 8k multichannel analyzer				0065
0030	small optical bench mount				0065
0031	large optical bench mount				0065	cooling jacket
0032	slinky				0066
0033	halogen lamp heat sink				0066
0034	calipers				0066
0035	polarizer				0067	1.0 mCi Co-57 gamma source
0036	illuminated test object				0067	1.0 mCi Ba-133 gamma source
0037	optical screen				0067	1.0 mCi Cs-137 gamma source
0038	flashlight				0067	detector stand with source shelves and lead and aluminum shields
0039	Geiger-Mueller tube				0068	spinning wheel optical analogue
0040	measuring tape				0068	banana connecting sleeve
0041	micrometer				0071	laser mount
0042	Pasco digital function amplifier				0071	VR3 power supply
0043	scissors				0071	sample holder
0044	plastic ruler				0071	fiber optics mounting rod
0045	cork board				0071	samples of different optical media
0046	fork clamp				0072
0047	Pasco driven harmonic motion apparatus				0073	precision voltage divider
0048	light detector				0073	10V DC power supply
0049	50 Ω BNC feedthrough termination				0073	nanoAmpere current source
0050	Vernier position sensor				0079	Tel-X-ometer x-ray spectrometer
0051	stopwatch				0080	assortment of chains
0052	masking tape				0083
0053	radiation sample holder				0083
0054	c-clamp
0055	beaker clamp
0056	thermometer clamp
0057	stir rod
0058	Protek digital thermometer
0059	Rutherford scattering apparatus				0092	double convex 38 mm wide 5.3 cm focal length lens
0060	Cenco high voltage power supply				0092	double convex 38 mm 11.8 cm focal length lens
0061	illuminated optical scale projector				0092	double concave 38 mm wide 3.6 cm focal length lens
0062	electron diffraction tube				0092	double concave 38 mm wide 28.6 cm focal length lens
0063	lens holder				0092	double convex 100 mm wide 25 cm focal length lens
0064	hydrogen Geissler tube				0092
0065	helium Geissler tube				0092
0066	Osram cadmium lamp				0092
0067	sodium lamp				0092
0068	Geissler tube power supply				0092	flat mirror holder
0069	magnifying glass				0093
0070	Leeds and Northrop optical pyrometer				0093	Glass slide with control apparatus
0071	demonstration Vernier scale
0072	Vernier temperature probe
0073	hot plate
0074	0.1 μCi Sr-90 beta source				0100
0075	Water constant volume gas apparatus				0100
0076	CIE chromaticity diagram				0100
0077	hook collar				0100
0078	green spring scale				0100
0079	red spring scale				0100
0080	C2H6 ethane gas				0100
0081	aluminum bar				0100
0082	brown spring scale				0100
0083	2-axis translation stage				0100
0084	wooden cube				0100
0085	hanging chain				0100
0086	hanging chain pulley				0100
0087	alligator clamp				0100
0088	play-doh electrode				0100
0089	test lead				0100
0090	play-doh
0091	Fizeau band kit
0092	string				0104	LF411 or LF351 OpAmp
0093	sail				0104
0094	1 m length of plastic chain				0104
0095	air track accessory kit				0105	LF411 or LF351 OpAmp
0096	air hose		afterwards add wherever air blower		0106	power supply or battery
0097	air track				0106	1N914 diode
0098	Tel-Atomic Digicounter digital pulse counter				0106	LM555
0099	Tel-X-ometer X-ray spectrometer				0106	LM3900/LM3301
0100	acrylic X-ray shield				0106
0101	Compton scattering apparatus
0102	assortment of scattering rods
0103	1.0 μCi Cs-137 gamma source
0104	1.0 μCi Ba-133 gamma source
0105	1.0 μCi Co-57 gamma source
0106	SRL function generator				0109	LED
0107	breadboard				0109	LM555
0108	9 V battery				0109	LM311
0109	adjustable end stop				0109
0110	spill tray				0109
0111	banana plugs with eye hook				0110	LF411 or LF351 OpAmp
0112	air track spring				0111	frequency counter
0113	Hall probe kit				0112	LF353
0114	0.1 µF capacitor				0112	CD4016
0115	1 µF capacitor				0112
0116	0.01 µF capacitor
0117	100 pF capacitor
0118	0.001 µF capacitor
0119	10 µF capacitor
0120	0.0056 µF capacitor
0121	100 µF capacitor
0122	1 MΩ resistor
0123	10 kΩ resistor
0124	100 kΩ resistor
0125	1 kΩ resistor				0118
0126	3.3 kΩ resistor				0119	div 1/div 10 probe
0127	910 kΩ resistor				0119	1N914 diode
0128	620 kΩ resistor				0119	transformer 166F24 or similar
0129	47 kΩ resistor				0119	20 F 2N3904 NPN bipoar transistors
0130	27 kΩ resistor				0121	beaker with drain spout
0131	15 kΩ resistor				0121
0132	30 kΩ resistor				0121
0133	2.2 kΩ resistor				0121
0134	11 kΩ resistor				0122	thermal reservoir
0135	22 kΩ resistor				0122	recirculating pump
0136	33 kΩ resistor				0122
0137	2.2 MΩ resistor				0124	50 cm aluminum rod
0138	10 MΩ resistor				0124	1 m length of light plastic chain
0139	20 kΩ resistor				0125
0140	100 Ω resistor				0125
0141	triple alpha reference source				0126	optical bench pivot
0142	0.1 μCi Po-210 alpha source				0126	5 mW solid state diode laser pointer
0143	5.89 nCi Th-230 alpha source				0126	photodetector
0144	10 Ω resistor				0126	3 mm thick acrylic block
0145	9.1 kΩ resistor				0126	3 mm thick glass block
0146	6.8 kΩ resistor				0126
0147	4.7 kΩ resistor				0126	sunglasses
0148	5.1 kΩ resistor				0127	Black cord
0149	Boyle's law apparatus				0127	template of radii of curvature
0150	unknown potentiometer				0127	bubble chamber stereographs
0151	10 kΩ potentiometer				0127	3D view-master
0152	100 kΩ potentiometer				0127	physics review D - review of partical properties
0153	70 kΩ potentiometer				0128
0154	25 Ω potentiometer				0128	set of masses
0155	high voltage probe				0128	slider
0156	Cary vibrating reed electrometer				0128
0157	roughing pump				0129	set of masses
0158	Firestone isotope tables				0130	stand with mounted laser
0159	Teachspin magnetic force apparatus				0131	elastic band bumper
0160	Newport Instruments water cooled electromagnet				0131	spring steel bumper
0161	radium isolation nuclear chemistry station				0131	rubber ball bumber
0162	Korad power supply				0131	plasticine target
0163	Pasco fibre-optics photometer				0132	oranged striped glider
0164	e/m apparatus				0132	magnetic bumber
0165	digital barometer				0133	Steel rod
0166	optical bench pivot				0133	movable knife edge
0167	diverging lens worksheet				0133	knife edge support
0168	converging lens worksheet				0135	constant volume gas apparatus (helium filled)
0169	rectangular block worksheet				0135	mercury manometer
0170	equilateral prism worksheet				0136	Geiger tube
0171	mirror worksheet				0136	Geiger counter
0172	push-button switch				0137	spring
0173	quartz halogen lamp				0137	set of masses
0174	series and parallel RLC circuit board				0137	adjustable end stop
0175	potential mapping apparatus				0137	pulley wheel end stop
0176	potential mapping graph paper				0137	glider spring connectors
0177	parallel plate conductor board				0137	glider weight set
0178	dipole conductor board				0138	Laser
0179	potential mapping probe				0138
0180	LF351 OpAmp				0138
0181	rubber bands				0138
0182	laser pointer				0138
0183	3 mm thick acrylic block				0139
0184	600 lines/mm diffraction grating				0139
0185	set of hanging masses				0139	india ink
0186	harmonic motion slotted masses				0140	guage block set
0187	pencils				0140	uncertainties kit
0188	3 mm thick glass block				0140	micrograme balance
0189	HP pulse generator				0140	mass set
0190	electromagnet				0140
0191	small compass				0141	Spring Balances
0192	mechanical gauge set				0141	set of masses
0193	NW25 flexible vacuum hose				0141	swivel chair
0194	NW25 isolation valve				0141	wheeled chair
0195	large wooden block				0141	elevator
0196	solid metal cylinder				0141	springs
0197	salt				0142	Shielded Geiger apparatus
0198	milligram mass set				0142	Tracerlab TGC-1 GM Tube
0199	laser pointer mount				0142	HP 5315A universal counter
0200	aluminum rail				0142	Geiger connection box
0201	large compass				0142	BNC tee
0202	compass holder				0142	cutaway Geiger tube
0203	solenoid for aluminum rail				0143	Free Fall apparatus
0204	Sanwa analog multimeter				0143	steel ball
0205	inclinometer				0144	adjustable slit
0206	air track cart				0144
0207	Vernier LabPro data logger				0145	optical bench pivot
0208	Biot-Savart single wire apparatus				0145	laser
0209	He-Ne laser with acrylic base				0145	light meter
0210	travelling microscope				0145	3mm thick acrylic block
0211	high current power supply				0145	3 mm thick glass block
0212	current balance kit				0145	laser mount
0213	standing waves wire apparatus				0145	sunglasses
0214	travelling wave kit				0146	laser
0215	sunglasses				0146	iris on slide holder
0216	drag force kit				0146	micoscope slide with several small shapes
0217	Pasco precision interferometer apparatus				0147	K type thermocouple with amplifier
0218	variable parallel plate capacitor				0148	15 mm light spring
0219	set of dielectrics				0148	15 mm tight spring
0220	LM3301 quad amplifier				0148	tapered brass spring
0221	XR8038 precision waveform generator				0148	long spring support
0222	36 kΩ potentiometer				0148	short spring support
0223	forceps				0148	set of masses
0224	dry erase marker				0149	Container of #4 gauge glass bead sand
0225	push pins				0149	assortment of ball bearings
0226	protractor				0149	alignment bar
0227	acrylic block set				0150	movable knife edge
0228	helium constant volume gas apparatus				0150	movable clyindrical mass
0229	thermometer				0150	oiled knife edge support
0230	thermistor				0152	vacuum flask calorimeter
0231	3 resistor set				0152	styrofoam stopper with thermometer opening
0232	2 resistor set				0152	different types of metal pellets
0233	Osram lamp power supply				0152	lead pellets
0234	isopropyl alcohol				0152	non-elemental welding rod pellets
0235	nitrile gloves				0154	Wave Spring
0236	bubble level				0154	aluminum crossbar
0237	solder				0155	50 mm equilaterral triangular glass prism
0238	soldering iron				0155	Various fluid filled prism
0239	dry ice				0156
0240	bucket				0156
0241	250 mL glass beaker				0156
0242	400 mL glass beaker				0156
0243	250 mL plastic beaker				0156
0244	1000 mL plastic beaker				0157
0245	10 mL graduated cylinder				0159
0246	100 mL graduated cylinder				0159
0247	250 mL graduated cylinder				0159
0248	500 mL graduated cylinder				0159
0249	variac				0161
0250	HP 6516A high voltage power supply				0161
0251	RCA photomultiplier manual				0161
0252	Harshaw manual				0162
0253	electrical generator				0162
0254	two-stage regulator				0162
0255	blue spring scale				0162
0256	pipette bulb				0162
0257	wooden stand				0162
0258	spark timer				0163
0259	spark tape				0163
0260	pendulum apparatus				0163
0261	Hammond 10 H inductor				0165
0262	Rex rheostat				0166
0263	100 Ω GR decade resistance box				0166
0264	T type thermocouple wire				0167
0265	thermocouple connecting post				0167
0266	Abbe diagram				0167
0267	set of short connecting leads				0167
0268	Kater's pendulum				0168
0269	15 cm focal length 38 mm diameter double convex lens				0168
0270	Fresnel biprism				0168
0271	.01 µCi Co-60 gamma source				0170
0272	water reservoir				0170
0273	Venturi meter				0170
0274	K type thermocouple with amplifier				0170
0275	1.0 µCi Am-241 alpha source				0170
0276	10 µCi Tl-204 beta source				0171
0277	1.5 m length of chain				0172
0278	motor driven turntable				0172
0279	centripetal force apparatus				0172
0280	slider				0172
0281	funnel				0175
0282	female BNC to male banana adapter				0175
0283	standard magnet				0175
0284	Topward power supply				0175
0285	vacuum manifold cart				0175
0286	helium compressed gas cylinder				0177
0287	leaky weld assembly				0177
0288	thermocouple vacuum gauge				0177
0289	sorption pump				0187
0290	magnetic force 1 g ball bearing				0187
0291	hand operated roughing pump				0187
0292	Cannon-Fenske viscometer				0188
0293	stirling engine
0294	stand for PV diagram
0295	tangent galvanometer
0296	large stirling engine
0297	vector board
0298	air column apparatus with speaker
0299	hydrometer
0300	circular plastic pan
0301	dish soap
0302	paper towels
0303	shielded Geiger apparatus
0304	Tracerlab TGC-1 GM tube
0305	ice
0306	liquid nitrogen
0307	Mettler microgram balance
0308	BNC coaxial cable
0309	optical iris
0310	cylindrical laser mount
0311	adjustable laboratory stand
0312	Nucleus alpha spectrometer
0313	SRL oscilloscope
0314	harmonic motion springs
0315	aluminum bar with notch
0316	tapered brass springs
0317	motor-generator apparatus
0318	rubber mat
0319	stobe light
0320	SRL frequency counter
0321	flywheel
0322	charge pump
0323	large unpolarized capacitor 10 μF – 50 μF
0324	Pasco 30 cm spring
0325	SRL stopwatch
0326	1N914 diode
0327	LF411 OpAmp
0328	SRL thermistor
0329	CDS photocell
0330	LED apparatus
0331	ligtbulb array
0332	CD4023 CMOS counter-divider
0333	CD4046 CMOS counter-divider
0334	CD4017 CMOS counter-divider
0335	300 Hz quartz crystal
0336	spherical rubber balloon
0337	milligram digital balance
0338	Plastic measuring tape
0339	tennis ball
0340	116F24 transformer
0341	solid wire leads
0342	2N3904 NPN bipolar transistor
0343	green LED
0344	DPDT switch
0345	Geiger-Mueller tube BNC cable
0346	Geiger-Mueller tube power supply
0347	radiation sample holder
0348	neutron activated indium disk
0349	1000 mL glass beaker
0350	#5 rubber stopper
0351	10 kΩ Eico decade resistor box
0352	black box voltage divider
0353	uncertainties kit
0354	scotch tape
0355	avometer
0356	SRL digital multimeter
0357	SRL oscilloscope probe
0358	vacuum pump principles diagram
0359	NW25 four-way cross
0360	NW25 25 cm nipple
0361	thermocouple vacuum gauge head
0362	NW25 rubber O-ring
0363	NW25 centering ring
0364	NW25 clamp
0365	Vernier instrumentation amplifier
0366	pumpdown and leakout curve apparatus
0367	Oil diffstak high vacuum system
0368	RG-83 ionization gauge controller
0369	Turbomolecular pump system
0370	thin lens kit
0371	electromagnetic induction kit
0372	60 cm acrylic tube
0373	5 mL pipet
0374	liter of glycerine
0375	82 kΩ resistor
0376	200 kΩ resistor
0377	Pascal’s vase
0378	Magdeburg hemispheres
0379	cross-bar switch
0380	28 V minibulb
0381	three sided mirror
0382	induction coil
0383	bar magnet
0384	SRL meter stick
0385	CD4016 CMOS switch
0386	mini-speaker
0387	20 cm focal length 38 mm diameter double convex lens
0388	icelandic fieldspar
0389	stand with laser and protractor
0390	VR3 power supply
0391	faraday effect media sample holder
0392	fiber-optic mounting rod
0393	faraday effect kit
0394	5.3 cm focal length 38 mm diameter double convex lens
0395	11.8 cm focal length 38 mm diameter double convex lens
0396	-3.6 cm focal length 38 mm diameter double concave lens
0397	cylindrical He-Ne laser
0398	25 cm focal length 100 mm diameter double convex lens
0399	100 µm pinhole
0400	3-axis translation stage
0401	20 cm front surface flat mirror
0402	aluminum bar with wide slit
0403	triple diffraction grating
0404	rolling chair
0405	Vernier force sensor
0406	Vernier force sensor handle
0407	isolation transformer
0408	35 mCi Cs-137 gamma source
0409	custom 12 V and 24 V power supply
0410	sodium iodide scintillation detector
0411	cylindrical aluminum shield
0412	cylindrical lead shield
0413	BNC tee
0414	electrostatics kit
0415	LM555 timer
0416	LM3900 quad amplifer
0417	CM3130 OpAmp
0418	flat-bottomed coffee filter
0419	bathroom scale
0420	SPST switch
0421	Fraunhofer kit
0422	critical potential tube
0423	critical potential tube shield
0424	critical potential tube controller
0425	universal tube stand
0426	concentric ring conductor board
0427	Ortec alpha spectrometer
0428	pickup coil
0429	AC line separator
0430	GE 150W T3 quartz halogen bulb
0431	Fluke AC current probe
0432	486 computer
0433	sample thermopile housing
0434	black body oven
0435	oven insert
0436	water cooling iris
0437	red LED
0438	LM311 differential comparator
0439	CD4024 CMOS binary counter
0440	CD4023 logic gates
0441	electron diffraction optical analogue wheel
0442	precision voltage divider
0443	Kepco power supply
0444	nA current source
0445	beaker with drain spout
0446	bubble chamber photograph kit
0447	Aluminum alloy 6061 beam
0448	rubber ball bumper
0449	spring steel bumper
0450	orange striped glider
0451	magnetic bumper
0452	steel rod
0453	knife edge
0454	knife edge support
0455	mercury monometer
0456	Nalgene calorimeter
0457	india ink
0458	gauge block set
0459	lens paper
0460	yellow spring scale
0461	HP 5313A universial counter
0462	Geiger connector box
0463	cutaway Geiger tube
0464	free fall apparatus
0465	free fall steel ball
0466	adjustable slit
0467	opticians ruler
0468	microscope slide with small shapes
0469	iris on slide holder
0470	styrofoam cup
0471	15 mm light spring
0472	15 mm tight spring
0473	impact crater kit
0474	containter of #4 gauge glass bead sand
0475	movable cyindrical mass
0476	vacuum flask calorimeter
0477	styrofoam stopper with thermometer opening
0478	set of metal pellets
0479	non-elemental welding rod pellets
0480	wave spring
0481	Pasco mechanical vibrator apparatus
0482	50 mm equilaterral triangle glass prism
0483	set of fluid filled prisms
0484	1N4007 rectifier diode
0485	1N617 diode
0486	1N7XX zener diode
0487	BAT85 Schottky diode
0488	motorola rectifiers and zener diodes data book
0489	1N3712 tunnel diode
0490	Thermoelectric apparatus
0491	sample TED
0492	demonstration thermoelectric apparatus
0493	heater power cord
0494	dissasembled inductor
0495	cutaway inductor
0496	5 kΩ - 10 kΩ pair
0497	set of capillary tubes
0498	air pipe
0499	sound tube with transducers for each gas including air
0500	selection of gases
0501	projectile launcher
0502	3/4" round steel projectile
0503	two axle block
0504	ten litre glass asperator bottle
0505	wire potentiometer
0525	Nuclear Data ND62 PHA
0507	1.0 µCi Cd-109 gamma source
0508	1.0 µCi Co-60 gamma source
0509	furnace motor
0510	furnace moter belt
0511	cryogenics safety signs
0512	meter stick balance beam
0513	balance beam stand
0514	helmholtz coils
0515	cross-bar switch
0516	wire gauge chart
0517	metric graph paper
0518	Nucleus Series 2/286 computer analyser
0519	Berkeley Nucleonics GL-3 pulse generator
0520	LF353 JFET OpAmp
0522	photodetector
0523	HP 5315A universal counter
0524	Phywe gas apparatus

## Sheet2
Checked Labs
50
62
76
102
1
91
64
86
120
43
21
3
44
116
20
30
25
33
114
85
107
52
74
90
9
94
115
58
84
6
118
77
75
14
101
55
89
45
48
96
29
51
88
108
63
100
113
10
61
54
22
83
99
93
49
59
117
17
98
79
42
60
37
110
26
19
28
119
112
69
57
31
46
82
71
12
38
35
92
5
18
53
4
40
95
67
81
13
111
11
106
23
2
27
15
56
70
87
16
103
32
80
47
98
34
39
41
104
72
7
36
8
24
66
105
78
65
109
68
73
121
122
123
124
125
126
127
128
136 deteted - duplicate
129
130
131
132
133
134
135
179 deleted - duplicate
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
180

## Sheet3
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
98
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120

## Sheet4
Equipment ID "0103" has multiple names.
Equipment ID "0003" has multiple names.
Equipment ID "0005" has multiple names.
Equipment ID "0010" has multiple names.
Equipment ID "0020" has multiple names.
Equipment ID "0022" has multiple names.
Equipment ID "0042" has multiple names.
Equipment ID "0050" has multiple names.
Equipment ID "0052" has multiple names.
Equipment ID "0074" has multiple names.
Equipment ID "0081" has multiple names.
Equipment ID "0087" has multiple names.
Equipment ID "0095" has multiple names.
Equipment ID "0096" has multiple names.
Equipment ID "0106" has multiple names.
Equipment ID "0114" has multiple names.
Equipment ID "0118" has multiple names.
Equipment ID "0119" has multiple names.
Equipment ID "0122" has multiple names.
Equipment ID "0123" has multiple names.
Equipment ID "0124" has multiple names.
Equipment ID "0128" has multiple names.
Equipment ID "0132" has multiple names.
Equipment ID "0139" has multiple names.
Equipment ID "0142" has multiple names.
Equipment ID "0185" has multiple names.
Equipment ID "0207" has multiple names.
Equipment ID "0211" has multiple names.
Equipment ID "0212" has multiple names.
Equipment ID "0278" has multiple names.
Equipment ID "0280" has multiple names.
Equipment ID "0293" has multiple names.
Equipment ID "0308" has multiple names.
Equipment ID "0316" has multiple names.
Equipment ID "0318" has multiple names.
Equipment ID "0326" has multiple names.
Equipment ID "0342" has multiple names.
Equipment ID "0351" has multiple names.
Equipment ID "0353" has multiple names.
Equipment ID "0365" has multiple names.
Equipment ID "0380" has multiple names.
Equipment ID "0385" has multiple names.
Equipment ID "0396" has multiple names.
Equipment ID "0410" has multiple names.
Equipment ID "0416" has multiple names.
Equipment ID "0453" has multiple names.
Equipment ID "0505" has multiple names.