## Sheet1
item ID	item name (standardized)				lab ID	item name (still to be standardized)		kit ID	kit name	kit parts
0001	Fluke multimeter							0095	air track accessory kit	Leveling shims (8), 50 g cylindrical mass (4)
0002	Anatek power supply							0113	Hall probe kit	InAs hall probe, female BNC to male banana adaptor,. BNC coaxial cable
0003	set of connecting leads				0011	Rods made of acrylic and PVC		0190	travelling wave kit	50 Ω BNC feedthrough termination, 7 m RG59 coaxial cable, 7 m twinaxial cable, reflectionless signal splitter, 0.5 m RG58 coaxial cable, BNC male-male adapter (2), BNC female-female adapter, male BNC to female banana, variable resistive termination adapter, short circuit termination
0004	Neva mains rectifier				0011	string and support to hang these rods from		0091	Fizeau band kit	small Newton rings, large Newton rings, air wedge apparatus, lens paper, thin cover glass, riser block, aluminum foil, beam splitter, beam splitter stand, lens cleaner, interference colour chart, diffuser
0005	Philips multimeter				0011	rayon cloth
0006	laboratory stand				0014	1000 mL glass beaker
0007	meter stick				0014	cork
0008	laboratory jack				0025	Pasco springs of the same color
0009	B&K function generator				0027	3 flat-bottomed coffee filters
0010	oscilloscope				0027	bathroom scale
0011	air blower				0028	a ball to throw up in the air
0012	digital balance				0029	wire holder with wire
0013	Vernier magnetic field probe				0040	1 gram ball bearings
0014	Vernier voltage probe				0041	Rectangles with different lengths
0015	Vernier current probe				0041	Circles with different diameters
0016	Neva thermionic emission tube				0041	Ball bearing
0017	Pasco Fourier synthesizer				0049	high current power supply
0018	advanced student spectroscope				0049	motor-generator apparatus with brake
0019	introductory student spectroscope				0049	rubber mat
0020	right angle clamp				0053	isolation transformer
0021	He-Ne laser				0057	28V light bulb
0022	1 m optical bench				0060	plane-convex-concave universal mirror
0023	2 m optical bench				0061	diopter gauge
0024	computer				0061	short focal length double convex lens
0025	Leybold photocell				0061	2 different medium focal length double convex lenses
0026	Jarrell Ash monochromator				0061	long focal length double convex lens
0027	Moll’s thermopile				0061	double concave lens
0028	diopter guage				0065	sample thermopile housing
0029	Ortec pulse height analyzer				0065	oven
0030	small optical bench mount				0065	oven insert
0031	large optical bench mount				0065	cooling jacket
0032	slinky				0066	AC line separator
0033	tungsten-halogen lamp				0066	GE 150W T3 quartz halogen bulb
0034	calipers				0066	AC current probe
0035	polarizer				0067	1.0 mCi Co-57 gamma source
0036	illuminated test object				0067	1.0 mCi Ba-133 gamma source
0037	optical screen				0067	1.0 mCi Cs-137 gamma source
0038	flashlight				0067	detector stand with source shelves and lead and aluminum shields
0039	Geiger-Mueller tube				0068	spinning wheel optical analogue
0040	measuring tape				0068	banana connecting sleeve
0041	micrometer				0071	laser mount
0042	Pasco digital function amplifier				0071	VR3 power supply
0043	scissors				0071	sample holder
0044	plastic ruler				0071	fiber optics mounting rod
0045	cork board				0071	samples of different optical media
0046	fork clamp				0072	Ortec Ametek dual input alpha spectrometer
0047	Pasco driven harmonic motion apparatus				0073	precision voltage divider
0048	light detector				0073	10V DC power supply
0049	50 Ω BNC feedthrough termination				0073	nanoAmpere current source
0050	Vernier position sensor				0079	Tel-X-ometer x-ray spectrometer
0051	stopwatch				0080	assortment of chains
0052	tape				0083	60 cm acrylic tube filled with glycerine
0053	cork board stand				0083	5 mL pipet
0054	c-clamp				0085	assortment of red springs
0055	beaker clamp				0086	assortment of red springs
0056	thermometer clamp				0089
0057	stir rod				0089
0058	Protek digital thermometer				0089
0059	Rutherford scattering apparatus				0092	double convex 38 mm wide 5.3 cm focal length lens
0060	Cenco high voltage DC power supply				0092	double convex 38 mm 11.8 cm focal length lens
0061	illuminated optical scale projector				0092	double concave 38 mm wide 3.6 cm focal length lens
0062	electron diffraction tube				0092	double concave 38 mm wide 28.6 cm focal length lens
0063	lens holder				0092	double convex 100 mm wide 25 cm focal length lens
0064	hydrogen Geissler tube				0092	3-axis translation stage
0065	helium Geissler tube				0092	triple diffraction grating
0066	Osram cadmium lamp				0092	flat mirror
0067	sodium lamp				0092	100 µm pinhole
0068	spectrum tube power supply				0092	flat mirror holder
0069	magnifying glass				0093	Pasco precision interferometer apparatus
0070	Leeds and Northrop optical pyrometer				0093	Glass slide with control apparatus
0071	demonstration Vernier scale
0072	Vernier temperature probe
0073	hot plate				0096
0074	beaker				0100	schematic diagram of vacuum pump principles
0075	Water constant volume gas apparatus				0100
0076	CIE chromaticity diagram				0100
0077	hook collar				0100
0078	green spring scale				0100	25 cm tube with NW25 terminations
0079	red spring scale				0100	four-way cross with NW25 flanges
0080	yellow spring scale				0100	Varian vacuum gauge and gauge head
0081	white spring scale				0100	assortment of NW25 rubber O-rings and metal centering rings
0082	brown spring scale				0100	foreline trap
0083	2-axis translation stage				0100	assortment of NW25 clamps
0084	slide holder				0100	Vernier data acquisition system with printer support
0085	slide with 4 single slits				0100	Vernier instrumentation amplifier
0086	slide with 3 diffraction gratings				0100	pumpdown and leakout curve apparatus
0087	slide with 4 double slits				0100	Diffstak equipment cart
0088	slide with multiple slits				0100	RG-83 ionization gauge controller
0089	set of 7 nylon mesh slides with different grid spacings				0100	Turbo V80 pump cart
0090	slide with square and hexagonal gratings and 2 pinholes				0101	Eico decade resistor box
0091	Fizeau band kit				0101	black box voltage divider
0092	string				0104	LF411 or LF351 OpAmp
0093	sail				0104	CD4016 CMOS switch
0094	leaf electroscope				0104	LM555 timer
0095	air track accessory kit				0105	LF411 or LF351 OpAmp
0096	air hose				0106	power supply or battery
0097	air track				0106	1N914 diode
0098	Tel-Atomic Digicounter digital pulse counter				0106	LM555
0099	Tel-X-ometer X-ray spectrometer				0106	LM3900/LM3301
0100	acrylic X-ray shield				0106	CM3130
0101	Compton scattering apparatus				0107	LF411 or LF351 OpAmp
0102	assortment of scattering rods				0107	CDS photocell
0103	1.0 mCi caesium-137 gamma source				0108	avometer
0104	1.0 mCi barium-133 gamma source				0108	digital multimeter and test leads
0105	1.0 mCi cobalt-57 gamma source				0108	div 1/div 10
0106	Pat’s function generator				0109	LED
0107	breadboard				0109	LM555
0108	9 V battery				0109	LM311
0109	adjustable end stop				0109	CD4024
0110	lens cleaner				0109	CD4023
0111	banana plugs with eye hooks				0110	LF411 or LF351 OpAmp
0112	air track spring				0111	frequency counter
0113	hall probe kit				0112	LF353
0114	0.1 µF capacitor				0112	CD4016
0115	1 µF capacitor				0112	mini-speaker
0116	0.01 µF capacitor				0114	1N914 diodes
0117	100 pF capacitor				0114	LF411 or LF351 OpAmp
0118	0.001 µF capacitor				0115	frequency counter
0119	10 µF capacitor				0115	CD4023
0120	0.0056 µF capacitor				0115	CD4046
0121	100 µF capacitor				0115	CD4017
0122	1 MΩ resistor				0115	300 Hz quartz crystal
0123	10 kΩ resistor				0116	frequency counter
0124	100 kΩ resistor				0118	leads
0125	1 kΩ resistor				0118	NPN transistor
0126	3.3 kΩ resistor				0119	div 1/div 10 probe
0127	910 kΩ resistor				0119	1N914 diode
0128	620 kΩ resistor				0119	transformer 166F24 or similar
0129	47 kΩ resistor				0119	20 F 2N3904 NPN bipoar transistors
0130	27 kΩ resistor				0121	beaker with drain spout
0131	15 kΩ resistor				0121	wooden block
0132	30 kΩ resistor				0121	solid metal cylinder
0133	2.2 kΩ resistor				0121	salt water solution of 230 g salt/L
0134	11 kΩ resistor				0122	thermal reservoir
0135	22 kΩ resistor				0122	recirculating pump
0136	33 kΩ resistor				0122	C2H6 (ethane) gas
0137	2.2 MΩ resistor				0124	50 cm aluminum rod
0138	10 MΩ resistor				0124	1 m length of light plastic chain
0139	20 kΩ resistor				0125	Boyle's law apparatus
0140	100 Ω resistor				0125	mercury spill tray
0141	triple alpha reference source				0126	optical bench pivot
0142	0.1 mCi Po-210 alpha source				0126	5 mW solid state diode laser pointer
0143	5.89 nCi Th-230 alpha source				0126	photodetector
0144	10 Ω resistor				0126	3 mm thick acrylic block
0145	9.1 kΩ resistor				0126	3 mm thick glass block
0146	6.8 kΩ resistor				0126	laser pointer mount
0147	4.7 kΩ resistor				0126	sunglasses
0148	5.1 kΩ resistor				0127	Black cord
0149	Eico decade resitor box				0127	template of radii of curvature
0150	unknown potentiometer				0127	bubble chamber stereographs
0151	10 kΩ potentiometer				0127	3D view-master
0152	100 kΩ potentiometer				0127	physics review D - review of partical properties
0153	70 kΩ potentiometer				0128	"Aluminum alloy 6061 beam 2 m x 1"" x 1/8""
0154	25 Ω potentiometer				0128	set of masses
0155	high voltage probe				0128	slider
0156	Cary vibrating reed electrometer				0128	1.5 m length of chain
0157	roughing pump				0129	set of masses
0158	Firestone isotope tables				0130	stand with mounted laser
0159	Teachspin magnetic force apparatus				0131	elastic band bumper
0160	Newport Instruments water cooled electromagnet				0131	spring steel bumper
0161	radium isolation nuclear chemistry station				0131	rubber ball bumber
0162	Korad DC power supply				0131	plasticine target
0163	Pasco fibre-optics photometer				0132	oranged striped glider
0164	E/M apparatus				0132	magnetic bumber
0165	digital barometer				0133	Steel rod
0166	Nalgene vacuum pump with air cell				0133	movable knife edge
0167	diverging lens worksheet				0133	knife edge support
0168	converging lens worksheet				0135	constant volume gas apparatus (helium filled)
0169	rectangular block worksheet				0135	mercury manometer
0170	equilateral prism worksheet				0136	Geiger tube
0171	mirror worksheet				0136	Geiger counter
0172	push-button switch				0137	spring
0173	quartz halogen lamp				0137	set of masses
0174	series and parallel RLC circuit board				0137	adjustable end stop
0175	potential mapping apparatus				0137	pulley wheel end stop
0176	potential mapping graph paper				0137	glider spring connectors
0177	parallel plate conductor board				0137	glider weight set
0178	dipole conductor board				0138	Laser
0179	potential mapping field probe				0138	milligram weights
0180	sextant				0138	high current power supply
0181	rubber bands				0138	spacer bar
0182	20 cm focal length convex lens				0138	current balance apparatus
0183	18 mm focal length convex lens				0139	Nalgene jar with light bulb
0184	600 lines/mm diffraction grating				0139	styrofoam calorimeter
0185	set of hanging masses				0139	india ink
0186	set of slotted masses				0140	guage block set
0187	pencils				0140	uncertainties kit
0188	Pasco precision interferemoter apparatus				0140	micrograme balance
0189	HP pulse generator				0140	mass set
0190	electromagnet				0140	milligram mass set
0191	Small compass				0141	Spring Balances
0192	mechanical gauge set				0141	set of masses
0193	NW 25 roughing hose				0141	swivel chair
0194	NW 25 isolation valve				0141	wheeled chair
0195	BNC male-male adapter				0141	elevator
0196	BNC female-female adapter				0141	springs
0197	male BNC to female banana adapter				0142	Shielded Geiger apparatus
0198					0142	Tracerlab TGC-1 GM Tube
0199	short circuit termination				0142	HP 5315A universal counter
0200	aluminum rail				0142	Geiger connection box
0201	large compass				0142	BNC tee
0202	compass holder				0142	cutaway Geiger tube
0203	solenoid for aluminum rail				0143	Free Fall apparatus
0204	Sanwa analog multimeter				0143	steel ball
0205	inclinometer				0144	adjustable slit
0206	air track cart				0144	opticians ruler
0207	Vernier LabPro data logger				0145	optical bench pivot
0208	Biot-Savart single wire apparatus				0145	laser
0209					0145	light meter
0210	travelling microscope				0145	3mm thick acrylic block
0211					0145	3 mm thick glass block
0212					0145	laser mount
0213	standing waves wire apparatus				0145	sunglasses
0214					0146	laser
0215	diffuser				0146	iris on slide holder
0216	1/8” diameter sphere				0146	micoscope slide with several small shapes
0217	5/32” diameter sphere				0147	K type thermocouple with amplifier
0218	3/16” diameter sphere				0148	15 mm light spring
0219	1/4” diameter sphere				0148	15 mm tight spring
0220	5/16” diameter sphere				0148	tapered brass spring
0221	3/8” diameter sphere				0148	long spring support
0222	1/2” diameter sphere				0148	short spring support
0223	forceps				0148	set of masses
0224	dry erase marker				0149	Container of #4 gauge glass bead sand
0225	push pins				0149	assortment of ball bearings
0226	protractor				0149	alignment bar
0227	acrylic block set				0150	movable knife edge
0228	assortment of brass springs				0150	movable clyindrical mass
0229	thermometer				0150	oiled knife edge support
0230	thermistor				0152	vacuum flask calorimeter
0231	3 resistor set				0152	styrofoam stopper with thermometer opening
0232	2 resistor set				0152	different types of metal pellets
0233	Ealing power supply				0152	lead pellets
0234	isopropyl alcohol				0152	non-elemental welding rod pellets
0235	nitrile gloves				0154	Wave Spring
0236	bubble level				0154	aluminum crossbar
0237	solder				0155	50 mm equilaterral triangular glass prism
0238	soldering iron				0155	Various fluid filled prism
0239	dry ice				0156	1N4007 diode
0240	bucket				0156	1N617 diode
0241	250 mL glass beaker				0156	1N7XX zener diode
0242	400 mL glass beaker				0156	BAT85 Schottky diode
0243	250 mL plastic beaker				0156	motorola rectifiers and zener diodes data book
0244	1000 mL plastic beaker				0157	flywheel
0245	10 mL graduated cylinder				0159	weitghts with holders
0246	100 mL graduated cylinder				0159	pully
0247	250 mL graduated cylinder				0159	hook
0248	500 mL graduated cylinder				0159	rubber band bumper
0249	variac				0161	28V minibulb
0250	HP high voltage power supply				0161	rectifier diode
0251	RCA photomultiplier manual				0161	tunnel diode
0252	Harshaw manual				0162	Thermoelectric apparatus
0253	Harshaw NaI(Ti) scintillator unit				0162	high current power supply
0254	two-stage regulator				0162	isolation transformer
0255	blue spring scale				0162	sample TED
0256	pipette bulb				0162	demonstration thermoelectric apparatus
0257	wooden stand				0162	heater power cord
0258	spark timer				0163	dissasembled inductor
0259	spark tape				0163	cutaway inductor
0260	pendulum apparatus				0163	5 kiloΩ - 10 kiloΩ pair
0261	Hammond 10 H inductor				0165	set of capillary tubes
0262	Rex rheostat				0166	sound tube with transducers for each gas including air
0263	100 Ω decade resistance box				0166	selection of gases
0264	10 kΩ decade resistance box				0167	projectile launcher
0265	1 kΩ decade resistance box				0167	3/4"" round steel projectile
0266	Abbe diagram				0167	rubber landing mat
0267	set of short connecting leads				0167	viewing screen
0268	Kater's pendulum				0168	two axle block
0269	15 cm focal length convex lens				0168	aluminum crossbar
0270	Fresnel biprism				0168	short aluminum crossbar
0271	1 µCi Co-60				0170	ten litre glass asperator bottle
0272	water reservoir				0170	large stopper
0273	Venturi meter				0170	glass tube
0274	3.8 cm focal length concave lens				0170	stopper with catcher
0275	1 µCi Am-241				0170	matched steel ball
0276	10 µCi Tl-204				0171	wire potentiometer
0277	0.1 µCi Sr-90				0172	Nuclear Data ND62 PHA
0278	motor driven turntable				0172	Cs-137
0279	centripetal force apparatus				0172	Cd-109
0280	Phywe gas apparatus				0172	Na-22
0281	funnel				0175	20A high current power supply
0282	female BNC to male banana adapter				0175	AC furnace motor with belt and pully
0283	standard magnet				0175	k type themocouple meter
0284	Topward DC power supply				0175	laser
0285	vacuum manifold cart				0175	electrical generator
0286	helium cylinder				0177	red constantan T type thermocouple wire
0287	leaky weld assembly				0177	thermocouple connecting post
0288	thermocouple vacuum gauge				0177	safety signs
0289	sorption pump				0187	Meter stick balance beam
0290	board mounted gauges				0187	balance beam stand
0291	hand operated vacuum pump				0187	weight hangers
0292	Cannon-Fenske viscometer				0188	spring support bar with notch
0293	set of torsion pendulums
0294	stand for PV diagram
0295	tangent galvanometer
0296	Stirling engine
0297	vector board
0298	air column apparatus with speaker
0299	hydrometer
0300	circular plastic pan
0301	dish soap
0302	paper towels
0303	constant volume gas apparatus (helium filled
0304	styrofoam cup
0305	ice
0306	liquid nitrogen
0307	Mettler balance
0308	BNC coaxial cable
0309	optical iris
0310	cylindrical laser mount
0311	adjustable laboratory stand
0312	Nucleus alpha spectrometer
0313
0314
0315
0316
0317
0318
0319
0320
0321
0322
0323
0324
0325
0326
0327
0328
0329
0330
0331
0332
0333
0334
0335
0336
0337
0338
0339
0340
0341
0342
0343
0344
0345
0346
0347
0348
0349
0350
0351
0352
0353
0354
0355
0356
0357
0358
0359
0360
0361
0362
0363
0364
0365
0366
0367
0368
0369
0370
0371
0372
0373
0374
0375
0376
0377
0378
0379
0380
0381
0382
0383
0384
0385
0386
0387
0388
0389
0390
0391
0392
0393
0394
0395
0396
0397
0398
0399
0400
0401
0402
0403
0404
0405
0406
0407
0408
0409
0410
0411
0412
0413
0414
0415
0416
0417
0418
0419
0420
0421
0422
0423
0424
0425
0426
0427
0428
0429
0430
0431
0432
0433
0434
0435
0436
0437
0438
0439
0440
0441
0442
0443
0444
0445
0446
0447
0448
0449
0450
0451
0452
0453
0454
0455
0456
0457
0458
0459
0460
0461
0462
0463
0464
0465
0466
0467
0468
0469
0470
0471
0472
0473
0474
0475
0476
0477
0478
0479
0480
0481
0482
0483
0484
0485
0486
0487
0488
0489
0490
0491
0492
0493
0494
0495
0496
0497
0498
0499
0500
0501
0502
0503
0504
0505
0506
0507
0508
0509
0510
0511
0512
0513
0514